## SensorTypes
SENSORTYPE | SENSORNAME | VARIABLEID | VARIABLENAME | VARIABLECODE | VARIABLEUNIT | NODATAVALUE
5TE | Soil Moisture (5TE) | 23 | Permittivity | Ea | - | -9999
5TE | Soil Moisture (5TE) | 24 | Volumetric water content | VWC | m3/m3 | -9999
5TE | Soil Moisture (5TE) | 25 | Temperature | soilTemp | degC | -9999
5TE | Soil Moisture (5TE) | 26 | Electric Conductivity | EC | dS/m | -9999
5TM | Soil Moisture (5TM) | 23 | Permittivity | Ea | - | -9999
5TM | Soil Moisture (5TM) | 24 | Volumetric water content | VWC | m3/m3 | -9999
5TM | Soil Moisture (5TM) | 25 | Temperature | soilTemp | degC | -9999
CNR1 | Net Radiometer | 1 | Voltage | V_ISW | V | -9999
CNR1 | Net Radiometer | 2 | Voltage | V_RSW | V | -9999
CNR1 | Net Radiometer | 3 | Voltage | V_ILW | V | -9999
CNR1 | Net Radiometer | 4 | Voltage | V_RLW | V | -9999
CNR1 | Net Radiometer | 5 | Resistance | Res_PT100 | ohm | -9999
CNR1 | Net Radiometer | 6 | Radiation, incoming shortwave | ShortRadIn | W/m^2 | -9999
CNR1 | Net Radiometer | 7 | Radiation, outgoing shortwave | ShortRadOut | W/m^2 | -9999
CNR1 | Net Radiometer | 8 | Radiation, incoming longwave | LongRadIn | W/m^2 | -9999
CNR1 | Net Radiometer | 9 | Radiation, outgoing longwave | LongRadOut | W/m^2 | -9999
CNR1 | Net Radiometer | 10 | Temperature | TempK | degK | -9999
CR1000 | Data logger CR1000 | 34 | Temperature | PTempC | degC | -9999
CR1000 | Data logger CR1000 | 35 | Voltage | BattV_Min | V | -9999
CS300 | Pyranometer | 18 | Voltage | V_GlobalRad | V | -9999
CS300 | Pyranometer | 19 | Global Radiation | GlobalRad | W/m^2 | -9999
CS300 | Pyranometer | 28 | Voltage | PYR_mV | mV | -9999
HMP45 | Humidity and Temperature Probe | 13 | Voltage | V_RH | V | -9999
HMP45 | Humidity and Temperature Probe | 14 | Voltage | V_Temp | V | -9999
HMP45 | Humidity and Temperature Probe | 15 | Relative humidity | RH | % | -9999
HMP45 | Humidity and Temperature Probe | 16 | Temperature | AirTempC | degC | -9999
HMP45 | Humidity and Temperature Probe | 30 | Voltage | RH_mV | mV | -9999
HMP45 | Humidity and Temperature Probe | 31 | Voltage | Temp_mV | mV | -9999
HMP60 | Humidity and Temperature Probe | 30 | Voltage | RH_mV | mV | -9999
HMP60 | Humidity and Temperature Probe | 31 | Voltage | Temp_mV | mV | -9999
MO014A | Anemometer | 20 | Counter | WindCntRate | #/s | -9999
MO014A | Anemometer | 21 | Wind speed | Wind | m/s | -9999
PTB110 | Barometer | 32 | Voltage | V_Press | V | -9999
PTB110 | Barometer | 33 | Pressure | AirPress | hPa | -9999
SQ-110 | Quantum (SQ-110) | 11 | Voltage | V_PAR | V | -9999
SQ-110 | Quantum (SQ-110) | 12 | Radiation, incoming PAR | PAR | umol/m^2 s | -9999
SQ-110 | Quantum (SQ-110) | 29 | Voltage | PAR_mV | mV | -9999
T107 | Temperature sensor | 22 | Temperature | RefTempC | degC | -9999
T4e-110 | Tensiometer | 27 | Water potential | WP | kPa | -9999
T4e-70 | Tensiometer | 27 | Water potential | WP | kPa | -9999

## Sensors
SENSORID | SENSORCODE | SENSORTYPE | LOCATIONNAME | VARIABLEID | VARIABLECODE | VARIABLENAME | UNITSABBREVIATION | DLEVEL [CM] | Data From | Data End | Note
86 | TRF_BasementOAI_HMP60 | HMP60 | TRF Basement | 30 | RH_mV | Voltage | mV |  | 2015-09-30 | 2025-09-22 | NE Tower: 2/21/2024 - 8/29/2025
87 | TRF_BasementOAO_HMP60 | HMP60 | TRF Basement | 30 | RH_mV | Voltage | mV |  | 2015-09-30 | 2025-09-22 | NE & SW Pedon: 2/2/2024 - 5/20/2025
88 | TRF_BasementAH_HMP60 | HMP60 | TRF Basement | 30 | RH_mV | Voltage | mV |  | 2015-09-30 | 2025-09-22 | NW Pedon: 5/20/2023 - 6/21/2024
86 | TRF_BasementOAI_HMP60 | HMP60 | TRF Basement | 31 | Temp_mV | Voltage | mV |  | 2015-09-30 | 2025-09-22 | NW Tower: 5/30/2025 - 8/15/2025, calibration
87 | TRF_BasementOAO_HMP60 | HMP60 | TRF Basement | 31 | Temp_mV | Voltage | mV |  | 2015-09-30 | 2025-09-22
88 | TRF_BasementAH_HMP60 | HMP60 | TRF Basement | 31 | Temp_mV | Voltage | mV |  | 2015-09-30 | 2025-09-22
95 | TRF_MTN_1000_CNR1 | CNR1 | TRF Mountain Tower | 1 | V_ISW | Voltage | V | 1000 | 2015-09-21 | present
95 | TRF_MTN_1000_CNR1 | CNR1 | TRF Mountain Tower | 2 | V_RSW | Voltage | V | 1000 | 2015-09-21 | present
95 | TRF_MTN_1000_CNR1 | CNR1 | TRF Mountain Tower | 3 | V_ILW | Voltage | V | 1000 | 2015-09-21 | present
95 | TRF_MTN_1000_CNR1 | CNR1 | TRF Mountain Tower | 4 | V_RLW | Voltage | V | 1000 | 2015-09-21 | present
95 | TRF_MTN_1000_CNR1 | CNR1 | TRF Mountain Tower | 5 | Res_PT100 | Resistance | ohm | 1000 | 2015-09-21 | present
95 | TRF_MTN_1000_CNR1 | CNR1 | TRF Mountain Tower | 6 | ShortRadIn | Radiation, incoming shortwave | W/m^2 | 1000 | 2015-09-21 | present
95 | TRF_MTN_1000_CNR1 | CNR1 | TRF Mountain Tower | 7 | ShortRadOut | Radiation, outgoing shortwave | W/m^2 | 1000 | 2015-09-21 | present
95 | TRF_MTN_1000_CNR1 | CNR1 | TRF Mountain Tower | 8 | LongRadIn | Radiation, incoming longwave | W/m^2 | 1000 | 2015-09-21 | present
95 | TRF_MTN_1000_CNR1 | CNR1 | TRF Mountain Tower | 9 | LongRadOut | Radiation, outgoing longwave | W/m^2 | 1000 | 2015-09-21 | present
95 | TRF_MTN_1000_CNR1 | CNR1 | TRF Mountain Tower | 10 | TempK | Temperature | degK | 1000 | 2015-09-21 | present
104 | TRF_MTN_100_CS300 | CS300 | TRF Mountain Tower | 18 | V_GlobalRad | Voltage | V | 100 | 2015-09-21 | present
105 | TRF_MTN_300_CS300 | CS300 | TRF Mountain Tower | 18 | V_GlobalRad | Voltage | V | 300 | 2015-09-21 | present
106 | TRF_MTN_700_CS300 | CS300 | TRF Mountain Tower | 18 | V_GlobalRad | Voltage | V | 700 | 2015-09-21 | present
107 | TRF_MTN_1300_CS300 | CS300 | TRF Mountain Tower | 18 | V_GlobalRad | Voltage | V | 1300 | 2015-09-21 | present
104 | TRF_MTN_100_CS300 | CS300 | TRF Mountain Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 100 | 2015-09-21 | present
105 | TRF_MTN_300_CS300 | CS300 | TRF Mountain Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 300 | 2015-09-21 | present
106 | TRF_MTN_700_CS300 | CS300 | TRF Mountain Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 700 | 2015-09-21 | present
107 | TRF_MTN_1300_CS300 | CS300 | TRF Mountain Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 1300 | 2015-09-21 | present
96 | TRF_MTN_100_HMP45 | HMP45 | TRF Mountain Tower | 13 | V_RH | Voltage | V | 100 | 2015-09-21 | present
97 | TRF_MTN_300_HMP45 | HMP45 | TRF Mountain Tower | 13 | V_RH | Voltage | V | 300 | 2015-09-21 | present
98 | TRF_MTN_700_HMP45 | HMP45 | TRF Mountain Tower | 13 | V_RH | Voltage | V | 700 | 2015-09-21 | present
99 | TRF_MTN_1300_HMP45 | HMP45 | TRF Mountain Tower | 13 | V_RH | Voltage | V | 1300 | 2015-09-21 | present
96 | TRF_MTN_100_HMP45 | HMP45 | TRF Mountain Tower | 14 | V_Temp | Voltage | V | 100 | 2015-09-21 | present
97 | TRF_MTN_300_HMP45 | HMP45 | TRF Mountain Tower | 14 | V_Temp | Voltage | V | 300 | 2015-09-21 | present
98 | TRF_MTN_700_HMP45 | HMP45 | TRF Mountain Tower | 14 | V_Temp | Voltage | V | 700 | 2015-09-21 | present
99 | TRF_MTN_1300_HMP45 | HMP45 | TRF Mountain Tower | 14 | V_Temp | Voltage | V | 1300 | 2015-09-21 | present
96 | TRF_MTN_100_HMP45 | HMP45 | TRF Mountain Tower | 15 | RH | Relative humidity | % | 100 | 2015-09-21 | present
97 | TRF_MTN_300_HMP45 | HMP45 | TRF Mountain Tower | 15 | RH | Relative humidity | % | 300 | 2015-09-21 | present
98 | TRF_MTN_700_HMP45 | HMP45 | TRF Mountain Tower | 15 | RH | Relative humidity | % | 700 | 2015-09-21 | present
99 | TRF_MTN_1300_HMP45 | HMP45 | TRF Mountain Tower | 15 | RH | Relative humidity | % | 1300 | 2015-09-21 | present
96 | TRF_MTN_100_HMP45 | HMP45 | TRF Mountain Tower | 16 | AirTempC | Temperature | degC | 100 | 2015-09-21 | present
97 | TRF_MTN_300_HMP45 | HMP45 | TRF Mountain Tower | 16 | AirTempC | Temperature | degC | 300 | 2015-09-21 | present
98 | TRF_MTN_700_HMP45 | HMP45 | TRF Mountain Tower | 16 | AirTempC | Temperature | degC | 700 | 2015-09-21 | present
99 | TRF_MTN_1300_HMP45 | HMP45 | TRF Mountain Tower | 16 | AirTempC | Temperature | degC | 1300 | 2015-09-21 | present
108 | TRF_MTN_100_MO014A | MO014A | TRF Mountain Tower | 20 | WindCntRate | Counter | #/s | 100 | 2015-09-21 | present
109 | TRF_MTN_300_MO014A | MO014A | TRF Mountain Tower | 20 | WindCntRate | Counter | #/s | 300 | 2015-09-21 | present
110 | TRF_MTN_700_MO014A | MO014A | TRF Mountain Tower | 20 | WindCntRate | Counter | #/s | 700 | 2015-09-21 | present
111 | TRF_MTN_1300_MO014A | MO014A | TRF Mountain Tower | 20 | WindCntRate | Counter | #/s | 1300 | 2015-09-21 | present
108 | TRF_MTN_100_MO014A | MO014A | TRF Mountain Tower | 21 | Wind | Wind speed | m/s | 100 | 2015-09-21 | present
109 | TRF_MTN_300_MO014A | MO014A | TRF Mountain Tower | 21 | Wind | Wind speed | m/s | 300 | 2015-09-21 | present
110 | TRF_MTN_700_MO014A | MO014A | TRF Mountain Tower | 21 | Wind | Wind speed | m/s | 700 | 2015-09-21 | present
111 | TRF_MTN_1300_MO014A | MO014A | TRF Mountain Tower | 21 | Wind | Wind speed | m/s | 1300 | 2015-09-21 | present
100 | TRF_MTN_100_SQ-110 | SQ-110 | TRF Mountain Tower | 11 | V_PAR | Voltage | V | 100 | 2015-09-21 | present
101 | TRF_MTN_300_SQ-110 | SQ-110 | TRF Mountain Tower | 11 | V_PAR | Voltage | V | 300 | 2015-09-21 | present
102 | TRF_MTN_700_SQ-110 | SQ-110 | TRF Mountain Tower | 11 | V_PAR | Voltage | V | 700 | 2015-09-21 | present
103 | TRF_MTN_1300_SQ-110 | SQ-110 | TRF Mountain Tower | 11 | V_PAR | Voltage | V | 1300 | 2015-09-21 | present
100 | TRF_MTN_100_SQ-110 | SQ-110 | TRF Mountain Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 100 | 2015-09-21 | present
101 | TRF_MTN_300_SQ-110 | SQ-110 | TRF Mountain Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 300 | 2015-09-21 | present
102 | TRF_MTN_700_SQ-110 | SQ-110 | TRF Mountain Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 700 | 2015-09-21 | present
103 | TRF_MTN_1300_SQ-110 | SQ-110 | TRF Mountain Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 1300 | 2015-09-21 | present
113 | TRF_NEandSSoilPit_CR1000 | CR1000 | TRF NE and SW pedons Datalogger | 34 | PTempC | Temperature | degC | 0 | 2015-10-19 | 2023-07-21
113 | TRF_NEandSSoilPit_CR1000 | CR1000 | TRF NE and SW pedons Datalogger | 35 | BattV_Min | Voltage | V | 0 | 2015-10-19 | 2023-07-21
75 | TRF_NofSToweronMnt_700_SQ-110 | SQ-110 | TRF North Side of South Tower on Mnt | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 700 | 2015-09-30 | 2025-09-22
75 | TRF_NofSToweronMnt_700_SQ-110 | SQ-110 | TRF North Side of South Tower on Mnt | 29 | PAR_mV | Voltage | mV | 700 | 2015-09-30 | 2025-09-22
47 | TRF_NEDatalogger_T107 | T107 | TRF Northeast Datalogger | 22 | RefTempC | Temperature | degC |  | 2015-07-23 | present
9 | TRF_NESoilPit_-130_5TE | 5TE | TRF Northeast Pedon | 23 | Ea | Permittivity | - | 130 | 2015-09-30 | 2023-07-21
9 | TRF_NESoilPit_-130_5TE | 5TE | TRF Northeast Pedon | 24 | VWC | Volumetric water content | m3/m3 | 130 | 2015-09-30 | 2023-07-21
9 | TRF_NESoilPit_-130_5TE | 5TE | TRF Northeast Pedon | 25 | soilTemp | Temperature | degC | 130 | 2015-09-30 | 2023-07-21
9 | TRF_NESoilPit_-130_5TE | 5TE | TRF Northeast Pedon | 26 | EC | Electric Conductivity | dS/m | 130 | 2015-09-30 | 2023-07-21
1 | TRF_NESoilPit_-15_5TM | 5TM | TRF Northeast Pedon | 23 | Ea | Permittivity | - | 15 | 2015-09-30 | 2023-07-21
3 | TRF_NESoilPit_-25_5TM | 5TM | TRF Northeast Pedon | 23 | Ea | Permittivity | - | 25 | 2015-09-30 | 2023-07-21
5 | TRF_NESoilPit_-55_5TM | 5TM | TRF Northeast Pedon | 23 | Ea | Permittivity | - | 55 | 2015-09-30 | 2023-07-21
7 | TRF_NESoilPit_-100_5TM | 5TM | TRF Northeast Pedon | 23 | Ea | Permittivity | - | 100 | 2015-09-30 | 2023-07-21
1 | TRF_NESoilPit_-15_5TM | 5TM | TRF Northeast Pedon | 24 | VWC | Volumetric water content | m3/m3 | 15 | 2015-09-30 | 2023-07-21
3 | TRF_NESoilPit_-25_5TM | 5TM | TRF Northeast Pedon | 24 | VWC | Volumetric water content | m3/m3 | 25 | 2015-09-30 | 2023-07-21
5 | TRF_NESoilPit_-55_5TM | 5TM | TRF Northeast Pedon | 24 | VWC | Volumetric water content | m3/m3 | 55 | 2015-09-30 | 2023-07-21
7 | TRF_NESoilPit_-100_5TM | 5TM | TRF Northeast Pedon | 24 | VWC | Volumetric water content | m3/m3 | 100 | 2015-09-30 | 2023-07-21
1 | TRF_NESoilPit_-15_5TM | 5TM | TRF Northeast Pedon | 25 | soilTemp | Temperature | degC | 15 | 2015-09-30 | 2023-07-21
3 | TRF_NESoilPit_-25_5TM | 5TM | TRF Northeast Pedon | 25 | soilTemp | Temperature | degC | 25 | 2015-09-30 | 2023-07-21
5 | TRF_NESoilPit_-55_5TM | 5TM | TRF Northeast Pedon | 25 | soilTemp | Temperature | degC | 55 | 2015-09-30 | 2023-07-21
7 | TRF_NESoilPit_-100_5TM | 5TM | TRF Northeast Pedon | 25 | soilTemp | Temperature | degC | 100 | 2015-09-30 | 2023-07-21
2 | TRF_NESoilPit_-15_T4e-70 | T4e-70 | TRF Northeast Pedon | 27 | WP | Water potential | kPa | 15 | 2015-09-30 | 2023-07-21
4 | TRF_NESoilPit_-25_T4e-70 | T4e-70 | TRF Northeast Pedon | 27 | WP | Water potential | kPa | 25 | 2015-10-23 | 2023-07-21
6 | TRF_NESoilPit_-55_T4e-70 | T4e-70 | TRF Northeast Pedon | 27 | WP | Water potential | kPa | 55 | 2015-09-30 | 2023-07-21
8 | TRF_NESoilPit_-100_T4e-70 | T4e-70 | TRF Northeast Pedon | 27 | WP | Water potential | kPa | 100 | 2015-09-30 | 2023-07-21
10 | TRF_NESoilPit_-250_T4e-70 | T4e-70 | TRF Northeast Pedon | 27 | WP | Water potential | kPa | 250 | 2015-09-30 | 2023-07-21
37 | TRF_NETower_100_CS300 | CS300 | TRF Northeast Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 100 | 2015-07-23 | present
38 | TRF_NETower_300_CS300 | CS300 | TRF Northeast Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 300 | 2015-07-23 | present
39 | TRF_NETower_700_CS300 | CS300 | TRF Northeast Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 700 | 2015-07-23 | present
40 | TRF_NETower_1300_CS300 | CS300 | TRF Northeast Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 1300 | 2015-07-23 | present
41 | TRF_NETower_2000_CS300 | CS300 | TRF Northeast Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 2000 | 2015-07-23 | present
37 | TRF_NETower_100_CS300 | CS300 | TRF Northeast Tower | 28 | PYR_mV | Voltage | mV | 100 | 2015-07-23 | present
38 | TRF_NETower_300_CS300 | CS300 | TRF Northeast Tower | 28 | PYR_mV | Voltage | mV | 300 | 2015-07-23 | present
39 | TRF_NETower_700_CS300 | CS300 | TRF Northeast Tower | 28 | PYR_mV | Voltage | mV | 700 | 2015-07-23 | present
40 | TRF_NETower_1300_CS300 | CS300 | TRF Northeast Tower | 28 | PYR_mV | Voltage | mV | 1300 | 2015-07-23 | present
41 | TRF_NETower_2000_CS300 | CS300 | TRF Northeast Tower | 28 | PYR_mV | Voltage | mV | 2000 | 2015-07-23 | present
42 | TRF_NETower_100_HMP45 | HMP45 | TRF Northeast Tower | 15 | RH | Relative humidity | % | 100 | 2015-07-23 | present
43 | TRF_NETower_300_HMP45 | HMP45 | TRF Northeast Tower | 15 | RH | Relative humidity | % | 300 | 2015-07-23 | present
44 | TRF_NETower_700_HMP45 | HMP45 | TRF Northeast Tower | 15 | RH | Relative humidity | % | 700 | 2015-07-23 | present
45 | TRF_NETower_1300_HMP45 | HMP45 | TRF Northeast Tower | 15 | RH | Relative humidity | % | 1300 | 2015-07-23 | present
46 | TRF_NETower_2000_HMP45 | HMP45 | TRF Northeast Tower | 15 | RH | Relative humidity | % | 2000 | 2015-07-23 | present
42 | TRF_NETower_100_HMP45 | HMP45 | TRF Northeast Tower | 16 | AirTempC | Temperature | degC | 100 | 2015-07-23 | present
43 | TRF_NETower_300_HMP45 | HMP45 | TRF Northeast Tower | 16 | AirTempC | Temperature | degC | 300 | 2015-07-23 | present
44 | TRF_NETower_700_HMP45 | HMP45 | TRF Northeast Tower | 16 | AirTempC | Temperature | degC | 700 | 2015-07-23 | present
45 | TRF_NETower_1300_HMP45 | HMP45 | TRF Northeast Tower | 16 | AirTempC | Temperature | degC | 1300 | 2015-07-23 | present
46 | TRF_NETower_2000_HMP45 | HMP45 | TRF Northeast Tower | 16 | AirTempC | Temperature | degC | 2000 | 2015-07-23 | present
42 | TRF_NETower_100_HMP45 | HMP45 | TRF Northeast Tower | 30 | RH_mV | Voltage | mV | 100 | 2015-07-23 | present
43 | TRF_NETower_300_HMP45 | HMP45 | TRF Northeast Tower | 30 | RH_mV | Voltage | mV | 300 | 2015-07-23 | present
44 | TRF_NETower_700_HMP45 | HMP45 | TRF Northeast Tower | 30 | RH_mV | Voltage | mV | 700 | 2015-07-23 | present
45 | TRF_NETower_1300_HMP45 | HMP45 | TRF Northeast Tower | 30 | RH_mV | Voltage | mV | 1300 | 2015-07-23 | present
46 | TRF_NETower_2000_HMP45 | HMP45 | TRF Northeast Tower | 30 | RH_mV | Voltage | mV | 2000 | 2015-07-23 | present
42 | TRF_NETower_100_HMP45 | HMP45 | TRF Northeast Tower | 31 | Temp_mV | Voltage | mV | 100 | 2015-07-23 | present
43 | TRF_NETower_300_HMP45 | HMP45 | TRF Northeast Tower | 31 | Temp_mV | Voltage | mV | 300 | 2015-07-23 | present
44 | TRF_NETower_700_HMP45 | HMP45 | TRF Northeast Tower | 31 | Temp_mV | Voltage | mV | 700 | 2015-07-23 | present
45 | TRF_NETower_1300_HMP45 | HMP45 | TRF Northeast Tower | 31 | Temp_mV | Voltage | mV | 1300 | 2015-07-23 | present
46 | TRF_NETower_2000_HMP45 | HMP45 | TRF Northeast Tower | 31 | Temp_mV | Voltage | mV | 2000 | 2015-07-23 | present
48 | TRF_NETower_100_MO014A | MO014A | TRF Northeast Tower | 20 | WindCntRate | Counter | #/s | 100 | 2015-07-23 | present
49 | TRF_NETower_300_MO014A | MO014A | TRF Northeast Tower | 20 | WindCntRate | Counter | #/s | 300 | 2015-07-23 | present
50 | TRF_NETower_700_MO014A | MO014A | TRF Northeast Tower | 20 | WindCntRate | Counter | #/s | 700 | 2015-07-23 | present
51 | TRF_NETower_1300_MO014A | MO014A | TRF Northeast Tower | 20 | WindCntRate | Counter | #/s | 1300 | 2015-07-23 | present
52 | TRF_NETower_2000_MO014A | MO014A | TRF Northeast Tower | 20 | WindCntRate | Counter | #/s | 2000 | 2015-07-23 | present
48 | TRF_NETower_100_MO014A | MO014A | TRF Northeast Tower | 21 | Wind | Wind speed | m/s | 100 | 2015-07-23 | present
49 | TRF_NETower_300_MO014A | MO014A | TRF Northeast Tower | 21 | Wind | Wind speed | m/s | 300 | 2015-07-23 | present
50 | TRF_NETower_700_MO014A | MO014A | TRF Northeast Tower | 21 | Wind | Wind speed | m/s | 700 | 2015-07-23 | present
51 | TRF_NETower_1300_MO014A | MO014A | TRF Northeast Tower | 21 | Wind | Wind speed | m/s | 1300 | 2015-07-23 | present
52 | TRF_NETower_2000_MO014A | MO014A | TRF Northeast Tower | 21 | Wind | Wind speed | m/s | 2000 | 2015-07-23 | present
112 | TRF_NETower_300_PTB110 | PTB110 | TRF Northeast Tower | 32 | V_Press | Voltage | V | 300 | 2015-10-06 | present
112 | TRF_NETower_300_PTB110 | PTB110 | TRF Northeast Tower | 33 | AirPress | Pressure | hPa | 300 | 2015-10-06 | present
32 | TRF_NETower_100_SQ-110 | SQ-110 | TRF Northeast Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 100 | 2015-07-23 | present
33 | TRF_NETower_300_SQ-110 | SQ-110 | TRF Northeast Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 300 | 2015-07-23 | present
34 | TRF_NETower_700_SQ-110 | SQ-110 | TRF Northeast Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 700 | 2015-07-23 | present
35 | TRF_NETower_1300_SQ-110 | SQ-110 | TRF Northeast Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 1300 | 2015-07-23 | present
36 | TRF_NETower_2000_SQ-110 | SQ-110 | TRF Northeast Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 2000 | 2015-07-23 | present
32 | TRF_NETower_100_SQ-110 | SQ-110 | TRF Northeast Tower | 29 | PAR_mV | Voltage | mV | 100 | 2015-07-23 | present
33 | TRF_NETower_300_SQ-110 | SQ-110 | TRF Northeast Tower | 29 | PAR_mV | Voltage | mV | 300 | 2015-07-23 | present
34 | TRF_NETower_700_SQ-110 | SQ-110 | TRF Northeast Tower | 29 | PAR_mV | Voltage | mV | 700 | 2015-07-23 | present
35 | TRF_NETower_1300_SQ-110 | SQ-110 | TRF Northeast Tower | 29 | PAR_mV | Voltage | mV | 1300 | 2015-07-23 | present
36 | TRF_NETower_2000_SQ-110 | SQ-110 | TRF Northeast Tower | 29 | PAR_mV | Voltage | mV | 2000 | 2015-07-23 | present
65 | TRF_NWDatalogger_T107 | T107 | TRF Northwest Datalogger | 22 | RefTempC | Temperature | degC |  | 2014-03-19 | present
20 | TRF_NWSoilPit_-15_5TM | 5TM | TRF Northwest Pedon | 23 | Ea | Permittivity | - | 15 | 2015-04-09 | 2023-05-20
22 | TRF_NWSoilPit_-25_5TM | 5TM | TRF Northwest Pedon | 23 | Ea | Permittivity | - | 25 | 2015-04-09 | 2023-05-20
24 | TRF_NWSoilPit_-55_5TM | 5TM | TRF Northwest Pedon | 23 | Ea | Permittivity | - | 55 | 2015-04-09 | 2023-05-20
26 | TRF_NWSoilPit_-65_5TM | 5TM | TRF Northwest Pedon | 23 | Ea | Permittivity | - | 65 | 2015-04-09 | 2023-05-20
28 | TRF_NWSoilPit_-100_5TM | 5TM | TRF Northwest Pedon | 23 | Ea | Permittivity | - | 100 | 2015-04-09 | 2023-05-20
30 | TRF_NWSoilPit_-150_5TM | 5TM | TRF Northwest Pedon | 23 | Ea | Permittivity | - | 150 | 2015-04-09 | 2023-05-20
20 | TRF_NWSoilPit_-15_5TM | 5TM | TRF Northwest Pedon | 24 | VWC | Volumetric water content | m3/m3 | 15 | 2015-04-09 | 2023-05-20
22 | TRF_NWSoilPit_-25_5TM | 5TM | TRF Northwest Pedon | 24 | VWC | Volumetric water content | m3/m3 | 25 | 2015-04-09 | 2023-05-20
24 | TRF_NWSoilPit_-55_5TM | 5TM | TRF Northwest Pedon | 24 | VWC | Volumetric water content | m3/m3 | 55 | 2015-04-09 | 2023-05-20
26 | TRF_NWSoilPit_-65_5TM | 5TM | TRF Northwest Pedon | 24 | VWC | Volumetric water content | m3/m3 | 65 | 2015-04-09 | 2023-05-20
28 | TRF_NWSoilPit_-100_5TM | 5TM | TRF Northwest Pedon | 24 | VWC | Volumetric water content | m3/m3 | 100 | 2015-04-09 | 2023-05-20
30 | TRF_NWSoilPit_-150_5TM | 5TM | TRF Northwest Pedon | 24 | VWC | Volumetric water content | m3/m3 | 150 | 2015-04-09 | 2023-05-20
20 | TRF_NWSoilPit_-15_5TM | 5TM | TRF Northwest Pedon | 25 | soilTemp | Temperature | degC | 15 | 2015-04-09 | 2023-05-20
22 | TRF_NWSoilPit_-25_5TM | 5TM | TRF Northwest Pedon | 25 | soilTemp | Temperature | degC | 25 | 2015-04-09 | 2023-05-20
24 | TRF_NWSoilPit_-55_5TM | 5TM | TRF Northwest Pedon | 25 | soilTemp | Temperature | degC | 55 | 2015-04-09 | 2023-05-20
26 | TRF_NWSoilPit_-65_5TM | 5TM | TRF Northwest Pedon | 25 | soilTemp | Temperature | degC | 65 | 2015-04-09 | 2023-05-20
28 | TRF_NWSoilPit_-100_5TM | 5TM | TRF Northwest Pedon | 25 | soilTemp | Temperature | degC | 100 | 2015-04-09 | 2023-05-20
30 | TRF_NWSoilPit_-150_5TM | 5TM | TRF Northwest Pedon | 25 | soilTemp | Temperature | degC | 150 | 2015-04-09 | 2023-05-20
21 | TRF_NWSoilPit_-15_T4e-70 | T4e-70 | TRF Northwest Pedon | 27 | WP | Water potential | kPa | 15 | 2015-04-09 | 2023-05-20
23 | TRF_NWSoilPit_-25_T4e-70 | T4e-70 | TRF Northwest Pedon | 27 | WP | Water potential | kPa | 25 | 2015-04-09 | 2023-05-20
25 | TRF_NWSoilPit_-55_T4e-70 | T4e-70 | TRF Northwest Pedon | 27 | WP | Water potential | kPa | 55 | 2015-04-09 | 2023-05-20
29 | TRF_NWSoilPit_-100_T4e-70 | T4e-70 | TRF Northwest Pedon | 27 | WP | Water potential | kPa | 100 | 2015-04-09 | 2023-05-20
31 | TRF_NWSoilPit_-200_T4e-70 | T4e-70 | TRF Northwest Pedon | 27 | WP | Water potential | kPa | 200 | 2015-04-09 | 2023-05-20
57 | TRF_NWTower_100_CS300 | CS300 | TRF Northwest Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 100 | 2013-12-28 | present
58 | TRF_NWTower_300_CS300 | CS300 | TRF Northwest Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 300 | 2013-12-28 | present
59 | TRF_NWTower_700_CS300 | CS300 | TRF Northwest Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 700 | 2013-12-28 | present
60 | TRF_NWTower_1300_CS300 | CS300 | TRF Northwest Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 1300 | 2013-12-28 | present
57 | TRF_NWTower_100_CS300 | CS300 | TRF Northwest Tower | 28 | PYR_mV | Voltage | mV | 100 | 2013-12-28 | present
58 | TRF_NWTower_300_CS300 | CS300 | TRF Northwest Tower | 28 | PYR_mV | Voltage | mV | 300 | 2013-12-28 | present
59 | TRF_NWTower_700_CS300 | CS300 | TRF Northwest Tower | 28 | PYR_mV | Voltage | mV | 700 | 2013-12-28 | present
60 | TRF_NWTower_1300_CS300 | CS300 | TRF Northwest Tower | 28 | PYR_mV | Voltage | mV | 1300 | 2013-12-28 | present
61 | TRF_NWTower_100_HMP45 | HMP45 | TRF Northwest Tower | 15 | RH | Relative humidity | % | 100 | 2013-12-28 | present
62 | TRF_NWTower_300_HMP45 | HMP45 | TRF Northwest Tower | 15 | RH | Relative humidity | % | 300 | 2013-12-28 | present
63 | TRF_NWTower_700_HMP45 | HMP45 | TRF Northwest Tower | 15 | RH | Relative humidity | % | 700 | 2013-12-28 | present
64 | TRF_NWTower_1300_HMP45 | HMP45 | TRF Northwest Tower | 15 | RH | Relative humidity | % | 1300 | 2013-12-28 | present
61 | TRF_NWTower_100_HMP45 | HMP45 | TRF Northwest Tower | 16 | AirTempC | Temperature | degC | 100 | 2013-12-28 | present
62 | TRF_NWTower_300_HMP45 | HMP45 | TRF Northwest Tower | 16 | AirTempC | Temperature | degC | 300 | 2013-12-28 | present
63 | TRF_NWTower_700_HMP45 | HMP45 | TRF Northwest Tower | 16 | AirTempC | Temperature | degC | 700 | 2013-12-28 | present
64 | TRF_NWTower_1300_HMP45 | HMP45 | TRF Northwest Tower | 16 | AirTempC | Temperature | degC | 1300 | 2013-12-28 | present
61 | TRF_NWTower_100_HMP45 | HMP45 | TRF Northwest Tower | 30 | RH_mV | Voltage | mV | 100 | 2013-12-28 | present
62 | TRF_NWTower_300_HMP45 | HMP45 | TRF Northwest Tower | 30 | RH_mV | Voltage | mV | 300 | 2013-12-28 | present
63 | TRF_NWTower_700_HMP45 | HMP45 | TRF Northwest Tower | 30 | RH_mV | Voltage | mV | 700 | 2013-12-28 | present
64 | TRF_NWTower_1300_HMP45 | HMP45 | TRF Northwest Tower | 30 | RH_mV | Voltage | mV | 1300 | 2013-12-28 | present
61 | TRF_NWTower_100_HMP45 | HMP45 | TRF Northwest Tower | 31 | Temp_mV | Voltage | mV | 100 | 2013-12-28 | present
62 | TRF_NWTower_300_HMP45 | HMP45 | TRF Northwest Tower | 31 | Temp_mV | Voltage | mV | 300 | 2013-12-28 | present
63 | TRF_NWTower_700_HMP45 | HMP45 | TRF Northwest Tower | 31 | Temp_mV | Voltage | mV | 700 | 2013-12-28 | present
64 | TRF_NWTower_1300_HMP45 | HMP45 | TRF Northwest Tower | 31 | Temp_mV | Voltage | mV | 1300 | 2013-12-28 | present
66 | TRF_NWTower_100_MO014A | MO014A | TRF Northwest Tower | 20 | WindCntRate | Counter | #/s | 100 | 2013-12-28 | present
67 | TRF_NWTower_300_MO014A | MO014A | TRF Northwest Tower | 20 | WindCntRate | Counter | #/s | 300 | 2013-12-28 | present
68 | TRF_NWTower_700_MO014A | MO014A | TRF Northwest Tower | 20 | WindCntRate | Counter | #/s | 700 | 2013-12-28 | present
69 | TRF_NWTower_1300_MO014A | MO014A | TRF Northwest Tower | 20 | WindCntRate | Counter | #/s | 1300 | 2013-12-28 | present
66 | TRF_NWTower_100_MO014A | MO014A | TRF Northwest Tower | 21 | Wind | Wind speed | m/s | 100 | 2013-12-28 | present
67 | TRF_NWTower_300_MO014A | MO014A | TRF Northwest Tower | 21 | Wind | Wind speed | m/s | 300 | 2013-12-28 | present
68 | TRF_NWTower_700_MO014A | MO014A | TRF Northwest Tower | 21 | Wind | Wind speed | m/s | 700 | 2013-12-28 | present
69 | TRF_NWTower_1300_MO014A | MO014A | TRF Northwest Tower | 21 | Wind | Wind speed | m/s | 1300 | 2013-12-28 | present
53 | TRF_NWTower_100_SQ-110 | SQ-110 | TRF Northwest Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 100 | 2013-12-23 | present
54 | TRF_NWTower_300_SQ-110 | SQ-110 | TRF Northwest Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 300 | 2013-12-23 | present
55 | TRF_NWTower_700_SQ-110 | SQ-110 | TRF Northwest Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 700 | 2013-12-23 | present
56 | TRF_NWTower_1300_SQ-110 | SQ-110 | TRF Northwest Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 1300 | 2013-12-23 | present
53 | TRF_NWTower_100_SQ-110 | SQ-110 | TRF Northwest Tower | 29 | PAR_mV | Voltage | mV | 100 | 2013-12-23 | present
54 | TRF_NWTower_300_SQ-110 | SQ-110 | TRF Northwest Tower | 29 | PAR_mV | Voltage | mV | 300 | 2013-12-23 | present
55 | TRF_NWTower_700_SQ-110 | SQ-110 | TRF Northwest Tower | 29 | PAR_mV | Voltage | mV | 700 | 2013-12-23 | present
56 | TRF_NWTower_1300_SQ-110 | SQ-110 | TRF Northwest Tower | 29 | PAR_mV | Voltage | mV | 1300 | 2013-12-23 | present
89 | TRF_SDatalogger_T107 | T107 | TRF South Datalogger | 22 | RefTempC | Temperature | degC |  | 2015-09-30 | 2025-04-23
13 | TRF_SSoilPit_-25_5TE | 5TE | TRF South Pedon | 23 | Ea | Permittivity | - | 25 | 2015-09-30 | 2023-07-21
17 | TRF_SSoilPit_-100_5TE | 5TE | TRF South Pedon | 23 | Ea | Permittivity | - | 100 | 2015-09-30 | 2023-07-21
13 | TRF_SSoilPit_-25_5TE | 5TE | TRF South Pedon | 24 | VWC | Volumetric water content | m3/m3 | 25 | 2015-09-30 | 2023-07-21
17 | TRF_SSoilPit_-100_5TE | 5TE | TRF South Pedon | 24 | VWC | Volumetric water content | m3/m3 | 100 | 2015-09-30 | 2023-07-21
13 | TRF_SSoilPit_-25_5TE | 5TE | TRF South Pedon | 25 | soilTemp | Temperature | degC | 25 | 2015-09-30 | 2023-07-21
17 | TRF_SSoilPit_-100_5TE | 5TE | TRF South Pedon | 25 | soilTemp | Temperature | degC | 100 | 2015-09-30 | 2023-07-21
13 | TRF_SSoilPit_-25_5TE | 5TE | TRF South Pedon | 26 | EC | Electric Conductivity | dS/m | 25 | 2015-09-30 | 2023-07-21
17 | TRF_SSoilPit_-100_5TE | 5TE | TRF South Pedon | 26 | EC | Electric Conductivity | dS/m | 100 | 2015-09-30 | 2023-07-21
11 | TRF_SSoilPit_-15_5TM | 5TM | TRF South Pedon | 23 | Ea | Permittivity | - | 15 | 2015-09-30 | 2023-07-21
16 | TRF_SSoilPit_-50_5TM | 5TM | TRF South Pedon | 23 | Ea | Permittivity | - | 50 | 2015-09-30 | 2023-07-21
11 | TRF_SSoilPit_-15_5TM | 5TM | TRF South Pedon | 24 | VWC | Volumetric water content | m3/m3 | 15 | 2015-09-30 | 2023-07-21
16 | TRF_SSoilPit_-50_5TM | 5TM | TRF South Pedon | 24 | VWC | Volumetric water content | m3/m3 | 50 | 2015-09-30 | 2023-07-21
11 | TRF_SSoilPit_-15_5TM | 5TM | TRF South Pedon | 25 | soilTemp | Temperature | degC | 15 | 2015-09-30 | 2023-07-21
16 | TRF_SSoilPit_-50_5TM | 5TM | TRF South Pedon | 25 | soilTemp | Temperature | degC | 50 | 2015-09-30 | 2023-07-21
18 | TRF_SSoilPit_-100_T4e-110 | T4e-110 | TRF South Pedon | 27 | WP | Water potential | kPa | 100 | 2015-09-30 | 2023-07-21
19 | TRF_SSoilPit_-130_T4e-110 | T4e-110 | TRF South Pedon | 27 | WP | Water potential | kPa | 130 | 2015-09-30 | 2023-07-21
12 | TRF_SSoilPit_-15_T4e-70 | T4e-70 | TRF South Pedon | 27 | WP | Water potential | kPa | 15 | 2015-09-30 | 2023-07-21
14 | TRF_SSoilPit_-25_T4e-70 | T4e-70 | TRF South Pedon | 27 | WP | Water potential | kPa | 25 | 2015-09-30 | 2023-07-21
15 | TRF_SSoilPit_-45_T4e-70 | T4e-70 | TRF South Pedon | 27 | WP | Water potential | kPa | 45 | 2015-09-30 | 2023-07-21
76 | TRF_STower_100_CS300 | CS300 | TRF South Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 100 | 2015-09-30 | 2025-09-22
77 | TRF_STower_300_CS300 | CS300 | TRF South Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 300 | 2015-09-30 | 2025-09-22
78 | TRF_STower_700_CS300 | CS300 | TRF South Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 700 | 2015-09-30 | 2025-09-22
79 | TRF_STower_1300_CS300 | CS300 | TRF South Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 1300 | 2015-09-30 | 2025-09-22
80 | TRF_STower_2000_CS300 | CS300 | TRF South Tower | 19 | GlobalRad | Global Radiation | W/m^2 | 2000 | 2015-09-30 | 2025-09-22
76 | TRF_STower_100_CS300 | CS300 | TRF South Tower | 28 | PYR_mV | Voltage | mV | 100 | 2015-09-30 | 2025-09-22
77 | TRF_STower_300_CS300 | CS300 | TRF South Tower | 28 | PYR_mV | Voltage | mV | 300 | 2015-09-30 | 2025-09-22
78 | TRF_STower_700_CS300 | CS300 | TRF South Tower | 28 | PYR_mV | Voltage | mV | 700 | 2015-09-30 | 2025-09-22
79 | TRF_STower_1300_CS300 | CS300 | TRF South Tower | 28 | PYR_mV | Voltage | mV | 1300 | 2015-09-30 | 2025-09-22
80 | TRF_STower_2000_CS300 | CS300 | TRF South Tower | 28 | PYR_mV | Voltage | mV | 2000 | 2015-09-30 | 2025-09-22
81 | TRF_STower_100_HMP45 | HMP45 | TRF South Tower | 15 | RH | Relative humidity | % | 100 | 2015-09-30 | 2025-09-22
82 | TRF_STower_300_HMP45 | HMP45 | TRF South Tower | 15 | RH | Relative humidity | % | 300 | 2015-09-30 | 2025-09-22
83 | TRF_STower_700_HMP45 | HMP45 | TRF South Tower | 15 | RH | Relative humidity | % | 700 | 2015-09-30 | 2025-09-22
84 | TRF_STower_1300_HMP45 | HMP45 | TRF South Tower | 15 | RH | Relative humidity | % | 1300 | 2015-09-30 | 2025-09-22
85 | TRF_STower_2000_HMP45 | HMP45 | TRF South Tower | 15 | RH | Relative humidity | % | 2000 | 2015-09-30 | 2025-09-22
81 | TRF_STower_100_HMP45 | HMP45 | TRF South Tower | 16 | AirTempC | Temperature | degC | 100 | 2015-09-30 | 2025-09-22
82 | TRF_STower_300_HMP45 | HMP45 | TRF South Tower | 16 | AirTempC | Temperature | degC | 300 | 2015-09-30 | 2025-09-22
83 | TRF_STower_700_HMP45 | HMP45 | TRF South Tower | 16 | AirTempC | Temperature | degC | 700 | 2015-09-30 | 2025-09-22
84 | TRF_STower_1300_HMP45 | HMP45 | TRF South Tower | 16 | AirTempC | Temperature | degC | 1300 | 2015-09-30 | 2025-09-22
85 | TRF_STower_2000_HMP45 | HMP45 | TRF South Tower | 16 | AirTempC | Temperature | degC | 2000 | 2015-09-30 | 2025-09-22
81 | TRF_STower_100_HMP45 | HMP45 | TRF South Tower | 30 | RH_mV | Voltage | mV | 100 | 2015-09-30 | 2025-09-22
82 | TRF_STower_300_HMP45 | HMP45 | TRF South Tower | 30 | RH_mV | Voltage | mV | 300 | 2015-09-30 | 2025-09-22
83 | TRF_STower_700_HMP45 | HMP45 | TRF South Tower | 30 | RH_mV | Voltage | mV | 700 | 2015-09-30 | 2025-09-22
84 | TRF_STower_1300_HMP45 | HMP45 | TRF South Tower | 30 | RH_mV | Voltage | mV | 1300 | 2015-09-30 | 2025-09-22
85 | TRF_STower_2000_HMP45 | HMP45 | TRF South Tower | 30 | RH_mV | Voltage | mV | 2000 | 2015-09-30 | 2025-09-22
81 | TRF_STower_100_HMP45 | HMP45 | TRF South Tower | 31 | Temp_mV | Voltage | mV | 100 | 2015-09-30 | 2025-09-22
82 | TRF_STower_300_HMP45 | HMP45 | TRF South Tower | 31 | Temp_mV | Voltage | mV | 300 | 2015-09-30 | 2025-09-22
83 | TRF_STower_700_HMP45 | HMP45 | TRF South Tower | 31 | Temp_mV | Voltage | mV | 700 | 2015-09-30 | 2025-09-22
84 | TRF_STower_1300_HMP45 | HMP45 | TRF South Tower | 31 | Temp_mV | Voltage | mV | 1300 | 2015-09-30 | 2025-09-22
85 | TRF_STower_2000_HMP45 | HMP45 | TRF South Tower | 31 | Temp_mV | Voltage | mV | 2000 | 2015-09-30 | 2025-09-22
90 | TRF_STower_100_MO014A | MO014A | TRF South Tower | 20 | WindCntRate | Counter | #/s | 100 | 2015-09-30 | 2025-09-22
91 | TRF_STower_300_MO014A | MO014A | TRF South Tower | 20 | WindCntRate | Counter | #/s | 300 | 2015-09-30 | 2025-09-22
92 | TRF_STower_700_MO014A | MO014A | TRF South Tower | 20 | WindCntRate | Counter | #/s | 700 | 2015-09-30 | 2025-09-22
93 | TRF_STower_1300_MO014A | MO014A | TRF South Tower | 20 | WindCntRate | Counter | #/s | 1300 | 2015-09-30 | 2025-09-22
94 | TRF_STower_2000_MO014A | MO014A | TRF South Tower | 20 | WindCntRate | Counter | #/s | 2000 | 2015-09-30 | 2025-09-22
90 | TRF_STower_100_MO014A | MO014A | TRF South Tower | 21 | Wind | Wind speed | m/s | 100 | 2015-09-30 | 2025-09-22
91 | TRF_STower_300_MO014A | MO014A | TRF South Tower | 21 | Wind | Wind speed | m/s | 300 | 2015-09-30 | 2025-09-22
92 | TRF_STower_700_MO014A | MO014A | TRF South Tower | 21 | Wind | Wind speed | m/s | 700 | 2015-09-30 | 2025-09-22
93 | TRF_STower_1300_MO014A | MO014A | TRF South Tower | 21 | Wind | Wind speed | m/s | 1300 | 2015-09-30 | 2025-09-22
94 | TRF_STower_2000_MO014A | MO014A | TRF South Tower | 21 | Wind | Wind speed | m/s | 2000 | 2015-09-30 | 2025-09-22
70 | TRF_STower_100_SQ-110 | SQ-110 | TRF South Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 100 | 2015-09-30 | 2025-09-22
71 | TRF_STower_300_SQ-110 | SQ-110 | TRF South Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 300 | 2015-09-30 | 2025-09-22
72 | TRF_STower_700_SQ-110 | SQ-110 | TRF South Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 700 | 2015-09-30 | 2025-09-22
73 | TRF_STower_1300_SQ-110 | SQ-110 | TRF South Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 1300 | 2015-09-30 | 2025-09-22
74 | TRF_STower_2000_SQ-110 | SQ-110 | TRF South Tower | 12 | PAR | Radiation, incoming PAR | umol/m^2 s | 2000 | 2015-09-30 | 2025-09-22
70 | TRF_STower_100_SQ-110 | SQ-110 | TRF South Tower | 29 | PAR_mV | Voltage | mV | 100 | 2015-09-30 | 2025-09-22
71 | TRF_STower_300_SQ-110 | SQ-110 | TRF South Tower | 29 | PAR_mV | Voltage | mV | 300 | 2015-09-30 | 2025-09-22
72 | TRF_STower_700_SQ-110 | SQ-110 | TRF South Tower | 29 | PAR_mV | Voltage | mV | 700 | 2015-09-30 | 2025-09-22
73 | TRF_STower_1300_SQ-110 | SQ-110 | TRF South Tower | 29 | PAR_mV | Voltage | mV | 1300 | 2015-09-30 | 2025-09-22
74 | TRF_STower_2000_SQ-110 | SQ-110 | TRF South Tower | 29 | PAR_mV | Voltage | mV | 2000 | 2015-09-30 | 2025-09-22